## Slide 1: From Code to Kilowatt Hours: The Role of Deep Tech and AI in Transformation of the Baltic Energy Landscape
Dzintars JAUNZEMS
Advisor, Latvijas Banka
Assist. Professor, Institute of Energy Systems and Environment, RTU
08.05.2025.

## Slide 2: Energy system development & deployment & transition
s
Scale effects:
Multi-level, comprehensive, large, and parallel infrastructure
Sector-coupling
Long-term effects:
Path dependency
Lock-in
Source: 20200429_D2.1_ScenarioFramework_final.pdf
Notes: +H2 infrastructure

## Slide 3: Brief overview and Current State of the Energy Sector in the Baltic Region

## Slide 4: Numerous changes in a very short period. The energy system is just one small aspect of it all.
Lithuania, TWh
Estonia, TWh
Source: Eurostat - https://doi.org/10.2908/NRG_BAL_C
Latvia, TWh
Chart: 
| 1990 | 1995 | 2000 | 2005 | 2010 | 2015 | 2020 | 2021 | 2022 | 2023
Fossil energy | 124879.725 | 60764.84 | 50009.058 | 58460.157 | 61735.493 | 49011.165 | 38529.046 | 40616.304 | 44282.037 | 34210.373
Renewables and biofuels | 2184.722 | 5730.611 | 5964.444 | 6846.973 | 9934.706 | 10859.989 | 15347.297 | 15349.915 | 15355.135 | 16273.538
Chart: 
| 1990 | 1995 | 2000 | 2005 | 2010 | 2015 | 2020 | 2021 | 2022 | 2023
Fossil energy | 83409.017 | 39351.567 | 29968.213 | 37731.461 | 39602.921 | 35104.876 | 31051.235 | 32418.73 | 28120.787 | 27819.359
Renewables and biofuels | 12157.289 | 14632.197 | 13850.241 | 17168.976 | 16682.04 | 17876.725 | 21041.926 | 22135.714 | 22231.105 | 22962.55
Chart: 
| 1990 | 1995 | 2000 | 2005 | 2010 | 2015 | 2020 | 2021 | 2022 | 2023
Fossil energy | 139787.364 | 62882.698 | 51007.366 | 63186.909 | 66660.607 | 60910.783 | 63843.982 | 63760.706 | 56239.333 | 55493.166
Renewables and biofuels | 3724 | 5737.444 | 7845.278 | 10247.444 | 12385.333 | 16502.222 | 19255.1 | 21798.644 | 20840.128 | 22932.544
Notes: Gross available energy means the overall supply of energy for all activities on the territory of the country. It includes energy needs for energy transformation (including generating electricity from combustible fuels), support operations of the energy sector itself, transmission and distribution losses, final energy consumption (industry, transport, households, services, agriculture, ...) and the use of fossil fuel products for non-energy purposes (e.g. in the chemical industry). It also includes fuel purchased within the country that is used elsewhere (e.g. international aviation, international maritime bunkers and, in the case of road transport “fuel tourism”). Glossary:Gross available energy - Statistics Explained - Eurostat

## Slide 5: From Phase 0 - The Baltic States under Soviet rule; to Phase 4 – open electricity and natural gas market. Russian invasion of Ukraine, no electricity & natural gas import from Russia, synchronization with EU electrical grid.
Chart: 
| 1990 | 1995 | 2000 | 2005 | 2010 | 2015 | 2020 | 2021 | 2022 | 2023
Fossil energy | 139787.364 | 62882.698 | 51007.366 | 63186.909 | 66660.607 | 60910.783 | 63843.982 | 63760.706 | 56239.333 | 55493.166
Renewables and biofuels | 3724 | 5737.444 | 7845.278 | 10247.444 | 12385.333 | 16502.222 | 19255.1 | 21798.644 | 20840.128 | 22932.544
Lithuania, TWh
Estonia, TWh
Source: Eurostat - https://doi.org/10.2908/NRG_BAL_C
Latvia, TWh
Chart: 
| 1990 | 1995 | 2000 | 2005 | 2010 | 2015 | 2020 | 2021 | 2022 | 2023
Fossil energy | 124879.725 | 60764.84 | 50009.058 | 58460.157 | 61735.493 | 49011.165 | 38529.046 | 40616.304 | 44282.037 | 34210.373
Renewables and biofuels | 2184.722 | 5730.611 | 5964.444 | 6846.973 | 9934.706 | 10859.989 | 15347.297 | 15349.915 | 15355.135 | 16273.538
Chart: 
| 1990 | 1995 | 2000 | 2005 | 2010 | 2015 | 2020 | 2021 | 2022 | 2023
Fossil energy | 83409.017 | 39351.567 | 29968.213 | 37731.461 | 39602.921 | 35104.876 | 31051.235 | 32418.73 | 28120.787 | 27819.359
Renewables and biofuels | 12157.289 | 14632.197 | 13850.241 | 17168.976 | 16682.04 | 17876.725 | 21041.926 | 22135.714 | 22231.105 | 22962.55
Phase 0
Phase 4
Notes: Gross available energy means the overall supply of energy for all activities on the territory of the country. It includes energy needs for energy transformation (including generating electricity from combustible fuels), support operations of the energy sector itself, transmission and distribution losses, final energy consumption (industry, transport, households, services, agriculture, ...) and the use of fossil fuel products for non-energy purposes (e.g. in the chemical industry). It also includes fuel purchased within the country that is used elsewhere (e.g. international aviation, international maritime bunkers and, in the case of road transport “fuel tourism”). Glossary:Gross available energy - Statistics Explained - Eurostat

## Slide 6: LT and EE are leading in Baltics on new renewable electricity capacities. Due to large hydro-power capacities, Latvia – due to hydro PP, had better start point.
Lithuania, MW
Estonia, MW
IRENA (2025), Renewable Capacity Statistics 2025, International Renewable Energy Agency, Abu Dhabi.
Latvia, MW
Chart: 
| 2005 | 2020 | 2024
Solar PV | 0 | 207.67 | 1326
Wind | 31 | 317 | 572
Chart: 
| 2005 | 2020 | 2024
Solar PV | 0 | 5.102 | 466
Wind | 26 | 78.172 | 128.268
Chart: 
| 2005 | 2020 | 2024
Solar PV (off-grid) | 0 | 84 | 171
Wind | 1 | 540 | 1828
Solar PV | 0 | 160.495 | 2396

## Slide 7: Electricity does not dominate in total final consumption. The demand for heat and process heat is at least twice as high.
Lithuania (2022)
Estonia (2022)
Source: Estonia - Countries & Regions – IEA Lithuania - Countries & Regions – IEA Latvia - Countries & Regions - IEA
Latvia (2022)
Chart: 
| Coal | Oil products | Natural gas | Biofuels and waste | Electricity | Heat
 | 7393 | 95322 | 44537 | 31220 | 38386 | 30821
Chart: 
| Coal | Oil products | Natural gas | Biofuels and waste | Electricity | Heat
 | 2478 | 43056 | 7495 | 20123 | 25710 | 20934
Chart: 
| Coal | Oil products | Natural gas | Biofuels and waste | Electricity | Heat
 | 489 | 59182 | 12458 | 44989 | 23264 | 23635

## Slide 8: Transformation of the Baltic Energy Landscape

## Slide 9: Smart meters - remote and automated electricity metering
By 2026, for customers consuming more than 1,000 kWh/year
  From 2026, customers with lower consumption
>85% households with smart meters
By now: >1 120 000 meters
Lithuania
As of 2025, Estonia has achieved 100% smart meter coverage
> 700 000 meters
Estonia
Smart electricity meter roll-out completed on May, 2023
>1 000 000 meters
Latvia
Notes: THAT | Smart meters
ceer.eu/wp-content/uploads/2024/09/ACER-CEER_2024_MMR_Retail-1.pdf
Executive summary – Estonia 2023 – Analysis – IEA

## Slide 10: (1) Some examples of AI & deep tech in Baltics energy system
Integration of AI for analysis (e.g. weather patterns, optimization, location etc.) to improve efficiency and predict maintenance needs
Renewable energy
District heating
Digital Twins
AI-driven systems to optimize heat distribution: monitor & control
Predictive analytics & machine learning algorithms to forecast demand and adjust supply accordingly
Source: 20200429_D2.1_ScenarioFramework_final.pdf
Buildings
AI systems for real-time monitoring and control
AI-enhanced BMS & HVAC

## Slide 11: (2) Some examples of AI & deep tech in Baltics energy system
Electricity (TSOs)
AI and sensor technologies to increase transmission capacity
Mobility
EV charging modes based on situation on the grid
AI to optimize routes and energy consumption
Electricity (DSOs)
Remote check of overhead lines (AI + ML)
Real-time monitoring with reduced number of sensors
Projections of generation & load, damages, development investment & network planning
Source: 20200429_D2.1_ScenarioFramework_final.pdf